## Slide 1: RFID Field strength Measurement Tag
Tijmen Verhulsdonck, Dhananjay Kittur, Binayak Ghosh

## Slide 2: Goal of this Project
To create an integrated solution
To measure Field Strength of an RFID reader antenna of any length and width
Present the data in a 4D scattering graph

## Slide 3: Description
RFID reader used to power the antenna and generate a field
A start signal is sent to the microcontroller to start sampling the voltages via AM modulation
3D tag, connected to microcontroller, used read voltage values on three axes
Microcontroller reads and processes the measured voltage values
The 3D RF field measurement is plotted to represent the data in four dimension scattered graph

## Slide 4: Block Diagram
Send ‘START’ signal
3D Tag
Microcontroller samples voltage values
Stores voltage readings via voltage divider circuit
Sends the voltage readings to the software application
Software plots 4d scattered Graph of the measured RF field
AM Demodulation

## Slide 5: Layout of Tag Antenna

## Slide 6: Three Dimensional Tag

## Slide 7: Microcontroller Circuit NucleoSTM32L476RG
A5-AM Mod
A2,A3,A4-Voltmeter

## Slide 8: Voltage Divider Circuit
R1
R2
R1
R2
R1
R2
V_XY
V_YZ
V_ZX
V_O1
V_O2
V_O3

## Slide 9: AM Demodulation Circuit

## Slide 10: Sampled Voltage Readings
For 2mm
X-Axis Z-Axis
34.6000 34.9000 32.8000 40.6000 0.3598 0.0417 0.2348 1.0000
36.1000 31.9000 33.7000 45.9000 0.5644 0.0947 0.1515 0.7348
32.3000 32.9000 33.3000 38.9000 0.6367 0.1553 0.0386 0.6614
21.3000 40.2000 32.4000 41.2000 0.4561 0.2462 0.0606 0.3428
              Y-Axis
0.7538 0.7603 0.7146 0.8845
0.7865 0.6950 0.7342 1.0000
0.7037 0.7168 0.7255 0.8475
0.4641 0.8758 0.7059 0.8976

## Slide 11: Graphical User Interface

## Slide 12: 4-Dimensional Scattered Graph

## Slide 13: Final Prototype

## Slide 14
THANK YOU